**ΦΥΛΛΟ ΣΥΜΜΟΡΦΩΣΗΣ**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Α/Α** | **Τεχνικά Χαρακτηριστικά** | **ΝΑΙ** | **ΟΧΙ** | **ΠΑΡΑΠΟΜΠΗ** |
| 1 | Ορολογικές πιπέττες των 5 mL, από διαφανές πολυστυρένιο, με στόμιο για χρήση με συσκευές αναρρόφησης (pipetting aid), και φίλτρο από βαμβάκι για προστασία. Ελεύθερες πυρετογόνων και αποστειρωμένες σε μεμονωμένες συσκευασίες από διαφανές πλαστικό και χαρτί για εύκολο και ασφαλές άνοιγμα απαλλαγμένο από στατικό ηλεκτρισμό και μικροσωματίδια. Με διπλή, ανα 0,1ml, αύξουσα και μειούμενη, διαβάθμιση και πρόσθετη αρνητική διαβάθμιση για αύξηση του ωφέλιμου όγκου. Χρωματική σήμανση κατά ISO. Προσφερόμενες σε συσκευασία των 500 τεμαχίων (10 σακκούλες των 50 τμχ).. |  |  |  |
| 2 | Ορολογικές πιπέττες των 10 mL, από διαφανές πολυστυρένιο, με στόμιο για χρήση με συσκευές αναρρόφησης (pipetting aid), και φίλτρο από βαμβάκι για προστασία. Ελεύθερες πυρετογόνων και αποστειρωμένες σε μεμονωμένες συσκευασίες από διαφανές πλαστικό και χαρτί για εύκολο και ασφαλές άνοιγμα απαλλαγμένο από στατικό ηλεκτρισμό και μικροσωματίδια. Με διπλή, αύξουσα και μειούμενη, διαβάθμιση ανα 0,1ml και πρόσθετη αρνητική διαβάθμιση για αύξηση του ωφέλιμου όγκου. Χρωματική σήμανση κατά ISO. Προσφερόμενες σε συσκευασία των 500 τεμαχίων (10 σακκούλες των 50 τμχ). |  |  |  |
| 3 | Ορολογικές πιπέττες 25mL, από διαφανές πολυστυρένιο, με στόμιο για χρήση με συσκευές αναρρόφησης (pipetting aid),και φίλτρο από βαμβάκι για προστασία. Ελεύθερες πυρετογόνων. Αποστειρωμένες σε μεμονωμένες συσκευασίες από διαφανές πλαστικό και χαρτί για εύκολο και ασφαλές άνοιγμα απαλλαγμένο από στατικό ηλεκτρισμό και μικροσωματίδια. Με διπλή, αύξουσα και μειούμενη, διαβάθμιση ανά 0,2ml και πρόσθετη αρνητική διαβάθμιση για αύξηση του ωφέλιμου όγκου. Χρωματική σήμανση κατά ISO. Προσφερόμενες σε συσκευασία των 200 τεμαχίων (8 σακκούλες των 25 τμχ). |  |  |  |
| 4 | Σωλήνες κρυοσυντήρησης και κρυομεταφοράς βιολογικών δειγμάτων, από πολυπροπυλένιο, λειτουργικής χωρητικότητας 1,8 mL, στείρα μικροβίων και με στρογγυλό πυθμένα. Διαστάσεων (με ποινή αποκλεισμού) 48mm σε ύψος και 12,5mm σε εξωτερική διάμετρο και καπάκι από πολυπροπυλένιο που βιδώνει εσωτερικά, χωρίς να αυξάνει τη διάμετρο του σωλήνα. Χωρίς αυτόνομη στήριξη. Ημιδιαφανείς, με έντυπη βαθμονόμηση όγκου, πρόβλεψη χώρου για επιγραφή και υποδοχή στην κορυφή για σήμανση με τάπες τύπου Nunc cyocolore-codes. Ελεύθερα DNA/ase και RNA/ase. Κατάλληλοι για θερμοκρασίες ψυγείου (+4oC) και κάτω, έως και -150οC.Προσφερόμενοι σε συσκευασία των 500 τεμαχίων (10 σακκούλες των 50 τμχ). |  |  |  |
| 5 | Τρυβλία καλλιέργειας από πολυστυρένιο, κατάλληλα για την εφαρμογή ελέγχου ευαισθησίας βακτηρίων στα αντιβιοτικά με χρήση ταινιών διαβαθμισμένης συγκέντρωσης. Στρογυυλά, με τη μεγαλύτερη δυνατή εσωτερική διάμετρο (τουλάχιστον 135 mm) στο κάτω διαμέρισμα του τρυβλίου, το οποίο υποδέχεται το υλικό καλλιέργειας. Κατασκευασμένα σε άσηπτες συνθήκες που εξασφαλίζουν τη στειρότητά τους. Απαίτηση για προσκόμιση δείγματος προς έλεγχο συμβατότητας, ιδιαίτερα σε ότι αφορά τις διαστάσεις του τρυβλίου. Προσφερόμενοι σε συσκευασία των 15 τμχ. |  |  |  |
| 6 | Βαμβακοφόροι στηλεοί ξύλινοι (wood-cotton), αποστειρωμένοι και συσκευασμένοι ανά ένας σε θήκες από χαρτί και πλαστικό με πρόβλεψη για εύκολο και ασφαλές άνοιγμα. Προσφερόμενοι σε συσκευασία των 2.000 τεμαχίων. |  |  |  |
| 7 | Κρικοφόροι στυλεοί 1μl,πλαστικοί, χρώματος λευκού για εμβολιασμό βακτηριακών αποικιών. Αποστειρωμένοι ανα 10τμχ. Συσκευασία 1000τμχ.http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/out |  |  |  |
| 8 | Κρικοφόροι στυλεοί 10μl,πλαστικοί, χρώματος μπλε για εμβολιασμό βακτηριακών αποικιών. Αποστειρωμένοι ανά 10τμχ. Συσκευασία 1000τμχ.http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/out |  |  |  |
| 9 | Ρύγχη κίτρινα 10-200μl, κατάλληλα για πιπέτες Gilson® Pipetman P20, P100, P200, F5, F10, F25, F50, F200, U200. Από υψηλής ποιότητας πολυπροπυλένιο (PP), χωρίς βαρέα μέταλλα. Ανθεκτικά σε εύρος θερμοκρασιών -190°C έως ++140°C. Αποστειρώσιμα στους 121οC/20min. Να πληρούν τα ISO9001 & DIN ISO 8655 standards. Συσκευασία 500 τεμάχια/σακούλα |  |  |  |
| 10 | L-(+)-Arabinose, white powder, purity with gas chromatography > 99% |  |  |  |
| 11 | Iσοπροπανόλη, για χρήση σε τεχνικές μοριακής βιολογιας.H καθαρότητα της ουσίας να είναι >99,8 %. Χωρίς ανιχνεύσιμα επίπεδα δεοξυροβονουκλεασών, ριβονουκλεασών και πρωτεασών. Πυκνότητα στους 25oC: 0,786 kg/L. Η περιεκτικότητα σε βαρέα μέταλλα όπως μόλυβδο να μην ξεπερνά το 0,000002 %. Συσκευασία 2.5 λίτρα. Με πιστοποιητικό ανάλυσης ανά παρτίδα. Συσκευασία 2,5 L. |  |  |  |
| 12 | Adenosine 5' -triphosphate disodium salt hydrate για χρήση σε μοριακές τεχνικές. Grade I, ≥99%. Συσκευασία 1g. |  |  |  |
| 13 | Phenylboronic acid, για χρήση σε τεχνικές μικροβιολογίας.H καθαρότητα της ουσίας να είναι ≥97.0% (HPLC). Συσκευασία 10g. |  |  |  |
| 14 | Έτοιμο προς χρήση βελτιστοποιημένο μείγμα δύο πολυμερασών (πολυμεράσης υψηλής πιστότητας και απλής πολυμεράσης) για υψηλής απόδοσης αντιδράσεις PCR και ενίσχυση δύσκολων δειγμάτων DNA με υψηλό ποσοστό σε GC (~65% ή μεγαλύτερο). Κατάλληλη για εφαρμογές όπως; High Sensitivity PCR, AT-rich PCR, Colony PCR, Long PCR (up to 6 kb from complex genomic DNA) κ.α. Να συνοδεύεται από δύο διαλύματα αντίδρασης, το Standard Reaction Buffer και το Quick-Load Buffer με δύο χρωστικές (Xylene Cyanol FF και Tartrazine) για απευθείας φόρτωση του PCR προϊόντος σε γέλη). Συσκευασία: 500 units - Conc. 5.000 units/ml (η ποσότητα να επαρκεί για 400 αντιδράσεις των 50μL έκαστη, για PCR products έως 3kb) |  |  |  |
| 15 | Απολυμαντικό σπρέϋ μικρών επιφανειών Big Spray. Ενεργά συστατικά ανά 100 gr: 35 gr propan-2-ol, 25,92 gr ethanol, 0,054 gr polyhexanide. Συσκευασία 1 L. |  |  |  |
| 16 | Εγκεκριμένο από τον Ε.Ο.Φ. πολυαλκοολούχο φαρμακευτικό αντισηπτικό χεριών Chiro Des, κατάλληλο για εφαρμογή χωρίς την προσθήκη νερού. Συνολική περιεκτικότητα σε αλκοόλες 77,4%, ενυδατικοί παράγοντες για την φροντίδα του δέρματος (λανολίνη, γλυκερόλη και βουτανοδιόλη), χωρίς χρωστικές ουσίες. Συσκευασία του 1 L. |  |  |  |
| 17 | Γάντια εξέτασης μιας χρήσεως από Nitrile Butadiene Rubber(NBR), χωρίς πούδρα, μη αποστειρωμένα, αμφιδέξια. Ανθεκτικά έναντι παθογόνων που μεταδίδονται με το αίμα [ASTM F1671] και μη διαπερατά από χημικές ουσίες (να έχουν ελεγχθεί σύμφωνα με ΕΝ 374-3). Μέγεθος SMALL(S). Προσφερόμενα σε συσκευασία 1000 τμχ (10 κουτιά των 100 τμχ).http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/out |  |  |  |
| 18 | Γάντια εξέτασης μιας χρήσεως από Nitrile Butadiene Rubber(NBR), χωρίς πούδρα, μη αποστειρωμένα, αμφιδέξια. Ανθεκτικά έναντι παθογόνων που μεταδίδονται με το αίμα [ASTM F1671] και μη διαπερατά από χημικές ουσίες (να έχουν ελεγχθεί σύμφωνα με ΕΝ 374-3). Μέγεθος MEDIUM (M). Προσφερόμενα σε συσκευασία 1000 τμχ (10 κουτιά των 100 τμχ).http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/out |  |  |  |
| 19 | Γάντια εξέτασης μιας χρήσεως από Nitrile Butadiene Rubber(NBR), χωρίς πούδρα, μη αποστειρωμένα, αμφιδέξια. Ανθεκτικά έναντι παθογόνων που μεταδίδονται με το αίμα [ASTM F1671] και μη διαπερατά από χημικές ουσίες (να έχουν ελεγχθεί σύμφωνα με ΕΝ 374-3). Μέγεθος large (L). Προσφερόμενα σε συσκευασία 1000 τμχ (10 κουτιά των 100 τμχ).http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/out |  |  |  |
| 20 | Μάσκα οδοντιατρική-χειρουργική 3 φύλλων με λάστιχο. BFE ≥ 95%.Διαθέτει φίλτρο διαδοχικών στρωμάτων, υψηλής αποδοτικότητας για την κατακράτηση σωματιδίων και την ικανότητα αναπνοής (τύπου ΙΙ).Είναι υποαλλεργική. Είναι IIR σε σχέση με την ικανότητα αντοχής στην εκτίναξη υγρών-αδιάβροχη. Διαθέτει εσωτερικό επιρίνειο έλασμα. Διαθέτει λάστιχο που τοποθετείται πίσω από τα αυτιά για άνετη εφαρμογή. Είναι μήκους 17,5cm και πλάτους 9cm.Είναι κατασκευασμένη με τέτοιο τρόπο ώστε να πληρεί τα πρότυπα του ΕΛΟΤ 14683/ 2005.Φέρει σήμανση CE στη συσκευασία.http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/r/outhttp://d.adroll.com/cm/b/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://d.adroll.com/cm/l/outhttp://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://ib.adnxs.com/seg?add=1684329&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=o1Z_CMHLgFcQy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://ib.adnxs.com/seg?add=2132101&t=2http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://googleads.g.doubleclick.net/pagead/viewthroughconversion/976682315/?label=mpPyCI3bkw4Qy_rb0QM&guid=ON&script=0&ord=2387242194493534.5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/o/outhttp://d.adroll.com/cm/g/out?google_nid=adroll5http://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/outhttp://d.adroll.com/cm/x/out |  |  |  |
| 21 | Τα αντιδραστήρια πρέπει να είναι συμβατά με τον ήδη υπάρχοντα εξοπλισμό Ion S5 Next Generation Sequencing System και Ion OneTouch 2.0 System. Aναλώσιμα για Bacterial Whole Genome Sequencing & 16S Metagenomics.  Η τεχνολογία αλληλούχησης να βασίζεται σε εξειδικευμένες συστοιχίες ημιαγωγών (Chips) , που επιτρέπουν την μέτρηση σε πραγματικό χρόνο των εκλυόμενων ιόντων υδρογόνου κατά τη δημιουργία του φωσφοδιεστερικού δεσμού στην επιμήκυνση της αλυσίδας DNA. Στην επιφάνεια αυτών των ημιαγωγών με τη βοήθεια ενός υψηλής ποιότητας συστήματος διαχείρισης υγρών εξασφαλίζεται η μετατροπή της γενετικής πληροφορίας (DNA μόρια) σε ψηφιακή (DNA αλληλουχία) με τον πλέον γρήγορο, αξιόπιστο και υψηλής ακρίβεια τρόπο.  Ion 520™ & Ion 530™ Kit-OT2, για χρήση με τα συστήματα της σειράς Ion S5. Το κιτ να περιλαμβάνει:  Ion S5 OT2 Solutions,  • Ion S5 OT2 Supplies  • Ion 520/530 OT2 Reagents  • Ion 520/530 Loading Reagents-OT2  • Ion S5 Sequencing Solutions  • Ion S5 Sequencing Reagents  Συσκευασία 1 κιτ |  |  |  |
| 22 | **Η ημερομηνία λήξης των προϊόντων κατά την παράδοση τους, κατά περίπτωση, να μην είναι μικρότερη του ενός έτους.** |  |  |  |